## Sheet1
Construction cost |  | Yearly income from energy |  | Yearly loss due to random failures |  | Yearly loss due to systematic failures |  | Total income
(investment) |  | (idealistic, zero failures) |  | (e.g. loose connections, broken panels) |  | (e.g. shadow sweeping across panels) |  | (energy income - construction cost - failures)
PV panels (EUR) | 90000 | total output power (kW) | 100 | surface affected by a single incident (%) | 5 | total affected plant surface (%) | 66 | calculation period (years) | 10
inverters (EUR) | 60000 | sunny days per year | 250 | number of incidents per year | 5 |  |  | yearly maintenance (EUR) | 2400
monitoring system (EUR) | 8000 | production for sunny days (kWh) | 165000
installation (EUR) | 20000 | production for cloudy days (kWh) | 1725 | days to repair, no monitoring | 180 | power loss due to error (%) | 9 | no monitoring
engineering (EUR) | 4000 | total production (kWh) | 166725 | yearly loss, no monitoring (kWh) | 20555.137 | total loss, no monitoring (kWh) | 9801 | construction cost (EUR) | 176000
project and permissions (EUR) | 2000 | incentives for kWh (EUR/kWh) | 0.35 | yearly loss, no monitoring (EUR) | 7194.2979 | total loss, no monitoring (EUR) | 3430.35 | maintenance cost (EUR) | 24000
|  | total zero-failure income (EUR) | 58353.75 |  |  |  |  | zero-failure income (EUR) | 583537.5
total, no monitoring (EUR) | 176000 |  |  | days to repair, with monitoring | 2 | unavoidable power loss (%) | 1 | loss due to random errors (EUR) | 71942.9795
total, with monitoring (EUR) | 184000 |  |  | yearly loss, with monitoring (kWh) | 228.3904 | total loss, with monitoring (kWh) | 1089 | loss due to systematic errors (EUR) | 34303.5
|  |  |  | yearly loss, with monitoring (EUR) | 79.9366 | total loss, with monitoring (EUR) | 381.15 | total income, no monitoring (EUR) | 277291.0205
Example based on typical 100kW roof-top installation.
with monitoring
Legend: | [7 empty] | construction cost (EUR) | 184000
green - enter values | [7 empty] | maintenance cost (EUR) | 24000
gray - calculation | [7 empty] | zero-failure income (EUR) | 583537.5
orange - final result | [7 empty] | loss due to random errors (EUR) | 799.3664
[8 empty] | loss due to systematic errors (EUR) | 3811.5
[8 empty] | total income, with monitoring (EUR) | 370926.6336
[8 empty] | total difference (EUR) | 93635.613